## Slide 1: HIRES: Technical Team Organization
M. Riva

## Slide 2: Splinter agenda
MRI introduction
TOL technical status … Any other is welcome !!
Open Technical discussion
Wrap-up and Practical team set up (task)

## Slide 3: Technical Team
Italy
Marco Riva marco.riva@brera.inaf.it
Pietro Schipani pietro.schipani@oacn.inaf.it
Ernesto Oliva oliva@arcetri.inaf.it
UK
Ian Parry irp@ast.cam.ac.uk
David Henry david.henry@stfc.ac.uk
Graham Murray g.j.murray@durham.ac.uk
Dave Buscher d.buscher@mrao.cam.ac.uk
Tim Morris t.j.morris@durham.ac.uk
Phil Rees phil.rees@stfc.ac.uk
Germany
Igor di Varano idivarano@aip.de
Andreas Quirrenbach a.quirrenbach@lsw.uni-heidelberg.de
Portugal
Alexandre Cabral alexander.cabral@fc.ul.pt
Manuel Monteiro manuel.monteiro@astro.up.pt
Switzerland
Francesco Pepe Francesco.Pepe@unige.ch
Francois Wildi francois.wildi@unige.ch
Sweden
Eric Stempels eric.stempels@physics.uu.se
Thomas Marquart Thomas.Marquart@physics.uu.se
Spain
Josè Luis Rasilla jlr@iac.es
TBD
France
Isabelle Boisse
Xavier Bonfils
Chile
Manuela Zoccali mzoccali@astro.puc.cl
Thomas Puzia tpuzia@astro.puc.cl

## Slide 4: Objective of the Splinter
Kick off Technical activity
Focusing of the target
Summary of Top Level requirement
Summary of Applicable I/F
Set up of the Workgroups (+Task)
Scheduling of next activities
Brainstorming

## Slide 5: Birth of an Instrument

## Slide 6: Where are we now

## Slide 7: Where do we have to go

## Slide 8: Target of Technical team
No Politics
  We do not distribute the cake (The question is not what I will do)
  We conceptualize the cake
  Indeed Declaration of interest are needed (The question is what I want to think about in this preliminary phase)
Concept definition and “TRIMMING”:
  Ranking of criticalities:
    Layout and configurations
    Components
    Technologies
  Definition of R&D for the instruments:
    Mandatory
    Useful
Blue book writing:
  Preliminary Requirement Flow Down
  Definition of Baseline concept
    Optical
    Mechanical
    Electrical
    Software
  Definition of Possible Back-up

## Slide 9: Summary of Top level requirement
Full l-coverage (0.35-2.5mm) in a single exposure
RV-optimized, ultra-stable HR mode R~100,000
Throughput-optimized HR mode R~100,000
Throughput-optimized MR mode R~10,000
Some multi-objects capabilities in MR
Diffraction limited IFU/slit with R~100,000 at IR l’s
Polarimetric capabilities

## Slide 10: E-Elt Interfaces
Optical
  Linear FOV Ø1957.7 mm
  Focal length 673878 mm
  Focal ratio F/17.48
  Plate scale 0,3 Asec/mm
  Stability
    0.3 arcsec rms
    With GLAO 10-50mas rms

## Slide 11: E-Elt Interfaces TBC @ Nasmith
Volume and Mass
  Spectrograph (Heavy Instrument)
    Mass: 25ton
    Volume : 6 x 6 m base x 7 m Height
  Front End (TBD)
    Mass: 5ton
    Volume : f4m base x 4 m Height
Quasi static Behavior
  Rel Disp. Under rotation
  Earthquake
Vibrations
  5E-6 g/(Hz)1/2 over 1-200Hz
Temperature
  0-20°C Seasonal
  DT 5°C per night

## Slide 12: E-Elt Interfaces TBC @ Coudè
Volume and Mass
  Spectrograph (Heavy Instrument)
    Mass: 25ton
    Volume : 6 x 6 m base x 7 m Height
Quasi static Behaviour
  Earthquake (0.8-0.9g)
Vibrations
  “No vibrations”
Temperature
  10 to 15° Stabilized ±1°C

## Slide 13: Coudè Feed
26m
23m
11m

## Slide 14: Workgroups
What are work-groups?
  “Free” Associations of Experts
  Developers of the concept in a certain fields
Why workgroups?
  Early Phase study
  Allow multiple solutions to flow and develops
  Increase communication between different fields
Where are work-groups?
  Everywhere and nowhere
When are the workgroups?
  …
Which workgroups?

## Slide 15: Which Workgroups? And Tasks?
Optics
  Spectrographs optical layout
  Front End Optical layout
  Front End MOS Optical layout
  Front End IFU Optical layout
  Fibers
  Detector configuration
  Calibration Unit
  Polarimetry
  ADC
  …
Mechanics
  Spectrographs Mechanical layout
  Front End Mechanical layout
  Front End MOS Mechanical layout
  Vacuum/Cryogenics
  Active/remote functions
  Thermal control
  …
Electrical design
  Detector
  System monitoring
  System Control
  …
Control Software ?
  System Control
  DRS
  …
…
The workgroups are dynamics and evolve

## Slide 16: Technical team organization
Tech team coordinator
Workgroup coordinator
Workgroup Member
Workgroup Member
Workgroup Member
Workgroup coordinator
Workgroup Member
Workgroup Member
Workgroup Member
Workgroup coordinator
Workgroup Member
Workgroup Member
Workgroup Member

## Slide 17: Scheduling Activities
1 Teleconf with Workgroup coordinators each 2-3W
1 Teleconf with all tech team members each month
Planned meeting:
  Multiple configurations meeting (MCM) (December 2013 – UK?)
    Summarizing of the possible realistic configuration to be Trimmed with Scientists
    Ranking of the configurations
  Baseline configuration meeting (BCM) (February 2014 – DE?)
    Definition of Baseline configuration
    Selection of Back-UP
    Wrap up for the blue book writing
  Blue Book release (Spring 2014)

## Slide 18: Logistic
Wiki for the data exchange.
Brief report (few lines) of each task per month (to guide the monthly teleconf)
Mailing list alias: hires_techno@brera.inaf.it

## Slide 19: Open Discussion
Requirements
Modes
Instrument Layout
Spectrographs Layout
Front End
R&D

## Slide 20: Closing of the splinter
What would you like to think about?